{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":177,"n_cols":11,"rows_kept":177,"cut":false,"hidden":false,"merged":[]}
["Прайс лист на продукцию МикроАрт http://www.энергосистемы.рф  23.10.2017 13:14:01"]
["Код","Наименование","Категория","P кВт","⎓ Vвх В","⏦ Vвых В","А·ч","I A","цена руб.","✓","☼"]
["MAP·PRO·12·1·3","1.3 кВт (инвертор)  ","МАП Pro 12В",1.3,12,220," "," ",23900,"✓",1]
["MAP·PRO·12·2","2 кВт (инвертор)  ","МАП Pro 12В",2,12,220," "," ",32500,"✓",1]
["MAP·PRO·12·3","3 кВт (инвертор)  ","МАП Pro 12В",3,12,220," "," ",46900,"✓",1]
["MAP·PRO·24·2","2 кВт (инвертор)  ","МАП Pro 24В",2,24,220," "," ",32500,"✓",1]
["MAP·PRO·24·3","3 кВт (инвертор)  ","МАП Pro 24В",3,24,220," "," ",46900,"✓",1]
["MAP·PRO·24·4·5","4.5 кВт (инвертор)  ","МАП Pro 24В",4.5,24,220," "," ",61300,"✓",1]
["MAP·PRO·24·6","6 кВт (инвертор)  ","МАП Pro 24В",6,24,220," "," ",71900,"✓",1]
["MAP·PRO·24·9","9 кВт (инвертор)  под заказ, срок исполнения 15 рабочих дней.","МАП Pro 24В",9,24,220," "," ",94500,"✓",1]
["MAP·PRO·48·3","3 кВт (инвертор)  ","МАП Pro 48В",3,48,220," "," ",46900,"✓",1]
["MAP·PRO·48·4·5","4.5 кВт (инвертор)  ","МАП Pro 48В",4.5,48,220," "," ",61300,"✓",1]
["MAP·PRO·48·6","6 кВт (инвертор)  ","МАП Pro 48В",6,48,220," "," ",71900,"✓",1]
["MAP·PRO·48·9","9 кВт (инвертор)  ","МАП Pro 48В",9,48,220," "," ",86000,"✓",1]
["MAP·PRO·48·12","12 кВт (инвертор)  ","МАП Pro 48В",12,48,220," "," ",105000,"✓",1]
["MAP·PRO·48·15","15 кВт (инвертор)  под заказ, срок исполнения 15 рабочих дней.","МАП Pro 48В",15,48,220," "," ",124500,"✓",1]
["MAP·PRO·48·18","18 кВт (инвертор)  под заказ, срок исполнения 15 рабочих дней.","МАП Pro 48В",18,48,220," "," ",137000,"✓",0]
["MAP·PRO·48·20","20 кВт (инвертор)  под заказ, срок исполнения 15 рабочих дней.","МАП Pro 48В",20,48,220," "," ",150700,"✓",0]
["MAP·HYBRID·12·1·3","1.3 кВт HYBRID (инвертор)  ","МАП HYBRID 12В",1.3,12,220," "," ",30900,"✓",1]
["MAP·HYBRID·12·2","2 кВт HYBRID (инвертор)  ","МАП HYBRID 12В",2,12,220," "," ",39500,"✓",1]
["MAP·HYBRID·12·3","3 кВт HYBRID (инвертор)  ","МАП HYBRID 12В",3,12,220," "," ",58900,"✓",1]
["MAP·HYBRID·24·2","2 кВт HYBRID (инвертор)  ","МАП HYBRID 24В",2,24,220," "," ",39500,"✓",1]
["MAP·HYBRID·24·3","3 кВт HYBRID (инвертор)  ","МАП HYBRID 24В",3,24,220," "," ",58900,"✓",1]
["MAP·HYBRID·24·4·5","4.5 кВт HYBRID (инвертор)  ","МАП HYBRID 24В",4.5,24,220," "," ",73300,"✓",1]
["MAP·HYBRID·24·6","6 кВт HYBRID (инвертор)  ","МАП HYBRID 24В",6,24,220," "," ",89900,"✓",1]
["MAP·HYBRID·24·9","9 кВт HYBRID (инвертор)  под заказ, срок исполнения 15 рабочих дней.","МАП HYBRID 24В",9,24,220," "," ",112500,"✓",1]
["MAP·HYBRID·48·3","3 кВт HYBRID (инвертор)  ","МАП HYBRID 48В",3,48,220," "," ",58900,"✓",1]
["MAP·HYBRID·48·4·5","4.5 кВт HYBRID (инвертор)  ","МАП HYBRID 48В",4.5,48,220," "," ",73300,"✓",1]
["MAP·HYBRID·48·6","6 кВт HYBRID (инвертор)  ","МАП HYBRID 48В",6,48,220," "," ",89900,"✓",0]
["MAP·HYBRID·48·9","9 кВт HYBRID (инвертор)  ","МАП HYBRID 48В",9,48,220," "," ",104000,"✓",0]
["MAP·HYBRID·48·12","12 кВт HYBRID (инвертор)  ","МАП HYBRID 48В",12,48,220," "," ",129000,"✓",1]
["MAP·HYBRID·48·15","15 кВт HYBRID (инвертор)  под заказ, срок исполнения 15 рабочих дней.","МАП HYBRID 48В",15,48,220," "," ",148500,"✓",10]
["MAP·HYBRID·48·18","18 кВт HYBRID (инвертор)  под заказ, срок исполнения 15 рабочих дней.","МАП HYBRID 48В",18,48,220," "," ",173000,"✓",0]
["MAP·HYBRID·48·20","20 кВт HYBRID (инвертор)  под заказ, срок исполнения 15 рабочих дней.","МАП HYBRID 48В",20,48,220," "," ",186700,"✓",0]
["MAP·HYBRID·12·3·X3","МАП HYBRID 12-3 х 3 фазы (9 кВт)  Срок исполнения 10 дней","МАП HYBRID 3 фазы 12В",9,12,220," "," ",176700,"✓",1]
["MAP·HYBRID·24·3·X3","МАП HYBRID 24-3 х 3 фазы (9 кВт)  Срок исполнения 10 дней","МАП HYBRID 3 фазы 24В",9,24,220," "," ",176700,"✓",1]
["MAP·HYBRID·24·4·5·X3","МАП HYBRID 24-4.5 х 3 фазы (13.5 кВт)  Срок исполнения 10 дней","МАП HYBRID 3 фазы 24В",13.5,24,220," "," ",219900,"✓",1]
["MAP·HYBRID·24·6·X3","МАП HYBRID 24-6 х 3 фазы (18 кВт)  Срок исполнения 10 дней","МАП HYBRID 3 фазы 24В",18,24,220," "," ",269700,"✓",1]
["MAP·HYBRID·24·9·X3","МАП HYBRID 24-9 х 3 фазы (27 кВт)  под заказ, срок исполнения 15 рабочих дней.","МАП HYBRID 3 фазы 24В",27,24,220," "," ",337500,"✓",1]
["MAP·HYBRID·48·3·X3","МАП HYBRID 48-3 х 3 фазы (9 кВт)  Срок исполнения 10 дней","МАП HYBRID 3 фазы 48В",9,48,220," "," ",176700,"✓",1]
["MAP·HYBRID·48·4·5·X3","МАП HYBRID 48-4.5 х 3 фазы (13.5 кВт)  Срок исполнения 10 дней","МАП HYBRID 3 фазы 48В",13.5,48,220," "," ",219900,"✓",1]
["MAP·HYBRID·48·6·X3","МАП HYBRID 48-6 х 3 фазы (18 кВт)  Срок исполнения 10 дней","МАП HYBRID 3 фазы 48В",18,48,220," "," ",269700,"✓",1]
["MAP·HYBRID·48·9·X3","МАП HYBRID 48.9 х 3 фазы (27 кВт)  Срок исполнения 10 дней","МАП HYBRID 3 фазы 48В",27,48,220," "," ",312000,"✓",1]
["MAP·HYBRID·48·12·X3","МАП HYBRID 48-12 х 3 фазы (36 кВт)  Срок исполнения 10 дней","МАП HYBRID 3 фазы 48В",36,48,220," "," ",387000,"✓",1]
["MAP·HYBRID·48·15·X3","МАП HYBRID 48-15 х 3 фазы (45 кВт)  под заказ, срок исполнения 15 рабочих дней.","МАП HYBRID 3 фазы 48В",45,48,220," "," ",445500,"✓",1]
["MAP·HYBRID·48·18·X3","МАП HYBRID 48-18 х 3 фазы (54 кВт)  под заказ, срок исполнения 15 рабочих дней.","МАП HYBRID 3 фазы 48В",54,48,220," "," ",519000,"✓",1]
["MAP·HYBRID·48·20·X3","МАП HYBRID 48-20 х 3 фазы (60 кВт)  под заказ, срок исполнения 15 рабочих дней.","МАП HYBRID 3 фазы 48В",60,48,220," "," ",560100,"✓",1]
["MAP·DOMINATOR·12·3","3 кВт DOMINATOR (инвертор)  ","МАП DOMINATOR 12В",3,12,220," "," ",70900,"✓",1]
["MAP·DOMINATOR·24·3","3 кВт DOMINATOR (инвертор)  ","МАП DOMINATOR 24В",3,24,220," "," ",70900,"✓",1]
["MAP·DOMINATOR·24·4·5","4.5 кВт DOMINATOR (инвертор)  ","МАП DOMINATOR 24В",4.5,24,220," "," ",85300,"✓",1]
["MAP·DOMINATOR·24·6","6 кВт DOMINATOR (инвертор)  ","МАП DOMINATOR 24В",6,24,220," "," ",107900,"✓",1]
["MAP·DOMINATOR·24·9","9 кВт DOMINATOR (инвертор)  под заказ, срок исполнения 15 рабочих дней.","МАП DOMINATOR 24В",9,24,220," "," ",130500,"✓",1]
["MAP·DOMINATOR·48·3","3 кВт DOMINATOR (инвертор)  ","МАП DOMINATOR 48В",3,48,220," "," ",70900,"✓",1]
["MAP·DOMINATOR·48·4·5","4.5 кВт DOMINATOR (инвертор)  ","МАП DOMINATOR 48В",4.5,48,220," "," ",85300,"✓",1]
["MAP·DOMINATOR·48·6","6 кВт DOMINATOR (инвертор)  ","МАП DOMINATOR 48В",6,48,220," "," ",107900,"✓",1]
["MAP·DOMINATOR·48·9","9 кВт DOMINATOR (инвертор)  ","МАП DOMINATOR 48В",9,48,220," "," ",122000,"✓",0]
["MAP·DOMINATOR·48·12","12 кВт DOMINATOR (инвертор)  ","МАП DOMINATOR 48В",12,48,220," "," ",153000,"✓",1]
["MAP·DOMINATOR·48·15","15 кВт DOMINATOR (инвертор)  под заказ, срок исполнения 15 рабочих дней.","МАП DOMINATOR 48В",15,48,220," "," ",172500,"✓",1]
["MAP·DOMINATOR·48·18","18 кВт DOMINATOR (инвертор)  под заказ, срок исполнения 15 рабочих дней.","МАП DOMINATOR 48В",18,48,220," "," ",209000,"✓",0]
["MAP·DOMINATOR·48·20","20 кВт DOMINATOR (инвертор)  под заказ, срок исполнения 15 рабочих дней.","МАП DOMINATOR 48В",20,48,220," "," ",222700,"✓",0]
["MAP·DOMINATOR·UPS·12·3","3 кВт DOMINATOR UPS (инвертор)  под заказ, срок исполнения 15 рабочих дней.","МАП DOMINATOR UPS 12В",3,12,220," "," ",74400,"✓",1]
["MAP·DOMINATOR·UPS·24·3","3 кВт DOMINATOR UPS (инвертор)  под заказ, срок исполнения 15 рабочих дней.","МАП DOMINATOR UPS 24В",3,24,220," "," ",74400,"✓",1]
["MAP·DOMINATOR·UPS·24·4·5","4.5 кВт DOMINATOR UPS (инвертор)  под заказ, срок исполнения 15 рабочих дней.","МАП DOMINATOR UPS 24В",4.5,24,220," "," ",88800,"✓",1]
["MAP·DOMINATOR·UPS·24·6","6 кВт DOMINATOR UPS (инвертор)  под заказ, срок исполнения 15 рабочих дней.","МАП DOMINATOR UPS 24В",6,24,220," "," ",111400,"✓",1]
["MAP·DOMINATOR·UPS·24·9","9 кВт DOMINATOR UPS (инвертор)  ","МАП DOMINATOR UPS 24В",9,24,220," "," ",137500,"☏",1]
["MAP·DOMINATOR·UPS·48·3","3 кВт DOMINATOR UPS (инвертор)  под заказ, срок исполнения 15 рабочих дней.","МАП DOMINATOR UPS 48В",3,48,220," "," ",74400,"✓",1]
["MAP·DOMINATOR·UPS·48·4·5","4.5 кВт DOMINATOR UPS (инвертор)  под заказ, срок исполнения 15 рабочих дней.","МАП DOMINATOR UPS 48В",4.5,48,220," "," ",88800,"✓",1]
["MAP·DOMINATOR·UPS·48·6","6 кВт DOMINATOR UPS (инвертор)  под заказ, срок исполнения 15 рабочих дней.","МАП DOMINATOR UPS 48В",6,48,220," "," ",111400,"✓",1]
["MAP·DOMINATOR·UPS·48·9","9 кВт DOMINATOR UPS (инвертор)  ","МАП DOMINATOR UPS 48В",9,48,220," "," ",129000,"☏",1]
["MAP·DOMINATOR·UPS·48·12","12 кВт DOMINATOR UPS (инвертор)  ","МАП DOMINATOR UPS 48В",12,48,220," "," ",160000,"☏",1]
["MAP·DOMINATOR·UPS·48·15","15 кВт DOMINATOR UPS (инвертор)  ","МАП DOMINATOR UPS 48В",15,48,220," "," ",179500,"☏",1]
["MAP·DOMINATOR·UPS·48·18","18 кВт DOMINATOR UPS (инвертор)  ","МАП DOMINATOR UPS 48В",18,48,220," "," ",216000,"☏",1]
["MAP·DOMINATOR·UPS·48·20","20 кВт DOMINATOR UPS (инвертор)  ","МАП DOMINATOR UPS 48В",20,48,220," "," ",229700,"☏",1]
["CH·LCD·3","Стабилизатор напряжения  ","СН-LCD Энергия",3," ",220," "," ",27700,"✓",1]
["CH·LCD·4·5","Стабилизатор напряжения  ","СН-LCD Энергия",4.5," ",220," "," ",34600,"✓",1]
["CH·LCD·6","Стабилизатор напряжения  ","СН-LCD Энергия",6," ",220," "," ",40500,"✓",1]
["CH·LCD·9","Стабилизатор напряжения  ","СН-LCD Энергия",9," ",220," "," ",48900,"✓",1]
["CH·LCD·12","Стабилизатор напряжения  ","СН-LCD Энергия",12," ",220," "," ",55500,"✓",1]
["KES·DOMINATOR·MPPT·200·100","Контроллер КЭС DOMINATOR MPPT 200/100  ","Солнечные контроллеры"," "," "," "," "," ",40900,"✓",1]
["KES·DOMINATOR·MPPT·250·60","Контроллер КЭС DOMINATOR MPPT 250/60  ","Солнечные контроллеры"," "," "," "," "," ",40900,"✓",1]
["KES·PRO·MPPT·200·60","Контроллер КЭС PRO MPPT 200/60  ","Солнечные контроллеры"," "," "," "," "," ",31500,"✓",0]
["KES·MPPT·100·20","Контроллер КЭС 100/20 MPPT  ","Солнечные контроллеры"," "," "," "," "," ",10900,"✓",0]
[]
[]
[]
["✓","- есть в наличии"]
["☼","- срок поставки"]
["☏","- звоните"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["✓","- есть в наличии"]
["☼","- срок поставки"]
["☏","- звоните"]